# APPENDIX F

# MODEL PERFORMANCE OUTPUTS

This appendix presents supplementary model performance evidence supporting the Chapter VI evaluation results for the TBhon hybrid cough classifier (production run 20260531_014419, fold 1) and the sputum AFB binary ResNet18 classifier (production run phlegm_afb_binary_20260531_133949). Figures include test-set precision and recall summaries, validation macro F1 curves, training loss curves, confusion matrices, and consolidated training summary outputs.

## F.1 Precision Results

Figure F.1 summarizes held-out test-set precision for the non-TB/TB cough classes and the AFB-negative/AFB-positive sputum classes. Cough non-TB precision was 79.13% and TB precision was 64.31%. Sputum AFB-positive precision was 98.54%; AFB-negative precision was 27.27% (n = 6 negatives in the test partition).

Figure F.1. Test-Set Precision by Class (Cough and Sputum Models)

## F.2 Recall Results

Figure F.2 summarizes held-out test-set recall. Cough non-TB recall was 88.25% and TB recall was 47.63%. Sputum AFB-positive recall (sensitivity) was 96.19% under the validation-tuned threshold policy (decision threshold = 0.63).

Figure F.2. Test-Set Recall by Class (Cough and Sputum Models)

## F.3 Validation Macro F1 Curves

Figure F.3 presents validation macro F1 curves across training epochs for the cough CNN branch (8 epochs) and the sputum ResNet18 classifier (30 epochs). Macro F1 is used as the primary validation metric for binary classification in place of mean average precision (mAP), which applies to object-detection tasks.

Figure F.3. Validation Macro F1 Curves

## F.4 Training Loss Curves

Figure F.4 shows training loss curves for both production models. Decreasing cough CNN training loss and sputum ResNet18 training loss indicate improved fit during the reported training runs.

Figure F.4. Training Loss Curves

## F.5 Confusion Matrices

Figure F.5 presents test-set confusion matrices for the hybrid cough classifier (n = 2,606) and the binary sputum AFB classifier (n = 216). Cough matrix: TN 1592, FP 212, FN 420, TP 382. Sputum matrix: TN 3, FP 3, FN 8, TP 202.

Figure F.5. Test-Set Confusion Matrices

## F.6 Training Summary Output

Table F.6.1. Cough Hybrid Classifier — Production Test Summary (run 20260531_014419)

| Metric | Value |
| --- | --- |
| Test accuracy | 75.75% |
| Macro F1 | 69.08% |
| Non-TB precision | 79.13% |
| TB precision | 64.31% |
| Non-TB recall | 88.25% |
| TB recall | 47.63% |
| CNN blend weight | 0.05 |
| Decision threshold | 0.395 |
| Test samples (n) | 2,606 |

Table F.6.2. Sputum ResNet18 AFB Binary Classifier — Production Test Summary (phlegm_afb_binary_20260531_133949)

| Metric | Value |
| --- | --- |
| Test accuracy | 94.91% |
| Macro F1 | 66.32% |
| AFB+ sensitivity (recall) | 96.19% |
| AFB− specificity | 50.00% |
| AFB+ precision | 98.54% |
| Decision threshold | 0.63 |
| Min. sensitivity constraint | 95.00% |
| Test samples (n) | 216 |

Table F.6.3. Cough CNN Branch — Per-Epoch Validation Log (8 epochs)

| Epoch | Train Loss | Val Accuracy | Val Macro F1 |
| --- | --- | --- | --- |
| 1 | 0.6912 | 70.29% | 41.28% |
| 2 | 0.6868 | 70.29% | 41.28% |
| 3 | 0.6860 | 70.29% | 41.28% |
| 4 | 0.6836 | 70.29% | 41.28% |
| 5 | 0.6837 | 70.29% | 41.28% |
| 6 | 0.6773 | 70.29% | 41.28% |
| 7 | 0.6766 | 70.29% | 41.28% |
| 8 | 0.6771 | 70.29% | 41.28% |

Classification report excerpts (test fold):

Cough:
precision    recall  f1-score   support

           0     0.7913    0.8825    0.8344      1804
           1     0.6431    0.4763    0.5473       802

    accuracy                         0.7575      2606
   macro avg     0.7172    0.6794    0.6908      2606
weighted avg     0.7457    0.7575    0.7460      2606

Sputum:
precision    recall  f1-score   support

afb_negative       0.27      0.50      0.35         6
afb_positive       0.99      0.96      0.97       210

    accuracy                           0.95       216
   macro avg       0.63      0.73      0.66       216
weighted avg       0.97      0.95      0.96       216